## Table of Contract
Bldg # |  | Building Name | L.1.1 (Lighting Upgrades) | W.1.1 (Water Upgrades) | W.1.2 (Process Water Recovery) | W.1.3 (Steam Sterilizers) | W.1.4 (Solar Water Heating) | M.1.1 (Steam Traps) | M.1.2 (Insulation) | M.1.3 (Utility Monitoring) | M.1.4 (Fume Hood Controls) | M.1.5 (AHU VFDs) | M.1.6 (Boiler Oxygen Trim) - NO SCOPE | M.1.7 (Chilled Water Pumping) | M.1.8 (AHU Air Blender) - NO SCOPE | M.1.9 (Steam Cond. Piping) | M.1.10 (Boiler Turbulators) | M.1.11 (Steam Water Heater) | M.1.13 (AHUs Replacement) | M.1.13 (AHUs Ultraviolet Tubes) | M.1.14 (Retrocommissioning) - NO SCOPE | E.1.1 (Capacitor Banks)
1 | 0001 | Taylor Education Bldg | ü | ü |  |  |  | ü | ü | ü
2 | 0004 | Central Heating Plant #2 | ü | ü |  |  |  | ü | ü
3 | 0025 | White Hall Classroom Bldg | ü | ü | [5 empty] | ü
4 | 0027 | Patterson Office Tower | ü | ü |  |  |  |  | ü | ü |  |  |  | ü
5 | 0034 | Gatton Bussiness School | ü | ü |  |  |  | ü | ü | ü |  | ü |  | ü
6 | 0035 | Miller Hall | ü | [5 empty] | ü | ü
7 | 0042 | Grehan Journalism Bldg | ü | ü |  |  |  |  | ü | ü |  |  |  | ü
8 | 0045 | McVey Hall | ü | ü |  |  |  |  | ü | ü
9 | 0046 | Anderson Hall Tower | ü | ü |  |  |  | ü | ü | ü
10 | 0048 | Law Building | ü | ü |  |  |  |  | ü | ü |  |  |  | ü | [5 empty] | ü
11 | 0049 | Memorial Hall | ü | ü |  |  |  |  | ü | ü
12 | 0054 | Funkhouser Bldg | ü | ü |  |  |  |  | ü | ü
13 | 0055 | Chemistry-Physics Building | ü | ü |  |  |  | ü | ü | ü | ü
14 | 0056 | Breckinridge Hall | [6 empty] | ü | ü
15 | 0057 | Kinkead Hall | [6 empty] | ü | ü
16 | 0058 | Bradley Hall | [6 empty] | ü | ü
17 | 0059 | Bowman Hall | [5 empty] | ü | ü | ü
18 | 0085 | Medical Center Heating and Cooling Plant | ü |  | ü |  |  | ü | ü
19 | 0089 | Cooling Plant #1 | ü |  |  |  |  | ü
20 | 0091 | Agriculture Science Center North | ü | ü |  |  |  | ü | ü | ü |  |  |  | ü
21 | 0096 | Combs Cancer Research Center | ü | ü |  | ü |  | ü | ü | ü | [10 empty] | ü
22 | 0099 | Gluck Equine Research Bldg | ü | ü |  |  |  |  | ü | ü |  | ü
23 | 0108 | Center for Robotics and Manufacturing Systems | ü |  |  |  |  | ü | ü | ü |  | ü |  | ü
24 | 0200 | Wethington Allied Health Building | [5 empty] | ü | ü | ü | [10 empty] | ü
25 | 0204 | Cooling Plant #2 | ü |  |  |  |  | ü | ü
26 | 0215 | W.P. Garrigus Bldg | ü | ü |  |  |  | ü | ü | ü
27 | 0225 | T H Morgan Biological Sciences | ü |  |  |  |  | ü | ü | ü
28 | 0230 | Sanders-Brown Center on Aging | ü |  |  |  |  | ü | ü | ü | [7 empty] | ü | ü | ü | ü
29 | 00241 | Singletary Center For The Arts | ü | ü |  |  |  | ü | ü | ü
30 | 0275 | Bruce Poundstone Regulatory Services Bldg | ü | ü |  |  | ü |  | ü | ü |  | ü |  |  |  |  | ü
31 | 0276 | Charles E. Barnhart Building | ü | [5 empty] | ü | ü |  | ü |  | ü
32 | 0286 | A.S.T.E.C.C. | [5 empty] | ü | ü | ü |  |  |  | ü
33 | 0297 | Dental Science Bldg | ü | ü |  |  |  | ü | ü | ü
34 | 0298 | William R. Willard Medical Education Bldg | ü | ü |  | ü |  | ü | ü | ü | [10 empty] | ü
35 | 0305 | Peter P. Bosomworth Health Sciences Research Building |  | ü |  | ü |  | ü | ü | ü | [5 empty] | ü |  |  |  |  | ü
36 | 0312 | Plant Sciences | [5 empty] | ü | ü | ü
37 | 0456 | W. T. Young Library | [6 empty] | ü | ü |  | ü
38 | 0509 | Biomedical Science Research Facility | [6 empty] | ü | ü
39 | 0514 | BBSRB Utility Plant
40 | 0005 | F.D. Peterson Services Building | ü | ü |  |  |  |  | ü | ü |  |  |  | ü
41 | 0017 | Dickey Hall | ü | ü |  |  |  |  | ü | ü
42 | 0022 | Fine Arts Guignol Building | ü | [5 empty] | ü | ü
43 | 0024 | Lafferty Hall | ü | ü |  |  |  |  | ü | ü
44 | 0028 | Barker Hall | ü | ü |  |  |  |  | ü | ü
45 | 0031 | Frazee Hall | ü | [6 empty] | ü
46 | 0033 | Ezra Gillis Building | ü | [6 empty] | ü
47 | 0039 | M.I. King Library South | ü | ü |  |  |  |  | ü | ü |  |  |  | ü
48 | 0041 | Pence Hall | ü | ü |  |  |  |  | ü | ü
49 | 0044 | Kastle Hall | ü | ü |  |  |  |  | ü | ü
50 | 0047 | C.W. Matthews Building | ü | ü |  |  |  |  | ü | ü
51 | 0050 | Erikson Hall | ü | ü |  |  |  |  | ü | ü
52 | 0053 | Sloane Research Building | ü | ü |  |  |  |  | ü | ü
53 | 0064 | Scovell Hall | ü | ü |  |  |  | ü | ü | ü
54 | 0107 | Mining & Minerals Research Building | ü |  |  |  |  | ü | ü | ü
55 | 0224 | Lucille Caudill Little Fine Arts Library |  | ü |  |  |  |  | ü | ü
56 | 0281 | Oliver H. Raymond Civil Engineering Building | ü | [5 empty] | ü | ü
57 | 0073 | Cooper Forestry Building | ü | ü |  |  |  |  | ü | ü
58 | 0076 | Dimock Animal Pathology | ü | ü |  |  |  |  | ü | ü
59 | 0092 | Seed House | ü | ü | [5 empty] | ü
60 | 0154 | Ag. Headhouse & Greenhouses | ü | [5 empty] | ü | ü
61 | 0097 | Good Barn | ü | ü |  |  |  |  | ü | ü
| NA | Utility Tunnels | [5 empty] | ü | ü
| NA | Electrical Substations | [19 empty] | ü