1.		Provide design and documentation in accordance with UK Standard 013300S01.

2.		The following publications, standards and codes are to be used to determine the minimum acceptable design criteria, standard of performance, workmanship, etc., by both the consultant and contractor.  The latest applicable publication or superseding issue will be used and, when appropriate, listed in the contract documents:

TITLE																							ABBREVIATION

Air Moving and Conditioning Association													AMCA

American Concrete Institute																	ACI

American Gas Association																	AGI

American Iron and Steel Institute															AISI

American Institute of Steel Construction													----

American National Standards Institute														ANSI

American Society for Testing Materials														ASTM

American Society of Heating, Refrigeration and Air

Conditioning Engineers																	ASHRAE

American Society of Mechanical Engineers												ASME

American Water Works Association															AWWA

ASME Boiler Construction Code																----

Factory Mutual Insurance																		FM

Illuminating Engineering Society																IES

Institute of Electrical and Electronic Engineers											IEEE

Insulated Power Cable Association															----

Kentucky Boiler Safety Law (KRS236)														----

Kentucky Building Code																		KBC

Kentucky Department of Housing, Building

and Construction																			----

Kentucky Department of Energy																----

Kentucky Occupational Safety and Health Administration								KOSHA

Kentucky State Fire Marshal's Regulations												----

Kentucky State Plumbing Code																----

National Electric Code																			NEC

National Electric Manufacturers Association												NEMA

National Electric Safety Code																----

National Fire Protection Association														NFPA

National Sanitation Foundation																NSF

Sheet Metal and Air Conditioning Contractors

National Association																			SMACCNA

Underwriters Laboratories																		UL

Guidelines for commissioning of HVAC Systems											ASHRAE

3.		The consultant is responsible for the submission of documents for state, local, private, etc. Agency review(s) obtain written agency approvals, to be documented and submitted to the project coordinator before final documents are ready for the bidding process to begin.  The consultant is responsible for compliance with the agency comments and requirements.  Provide written approval for any variance or deviation form normal installations or systems.

The following is a list of agency reviews required as they apply to the project, these are public and private agencies outside of the University system.  Others may be required for areas of special interest:

Kentucky State Plumbing Division*

Kentucky State Fire Marshal**

Kentucky Division Of Building code Enforcement

Kentucky State Boiler Inspector

Local Health Department

Local Environmental Protection Agency

Local water provider***

Local gas provider

Local municipal services

The following is a list of agency reviews required as they apply to the project, these are within the University system and will be acquired during the phase review process.  Others may be required for areas of special interest:

Capital Project Management Division

Sector Physical Plant

The sector or user group

Environmental Health and Safety

Handicapped Services

Communications Engineering

Purchasing

Notes:

*		Provide approved documents on the construction site.

**		Approval of sprinkler layout may be by the contractor with approval and submission to the University by the consultant.

***	KAWC will require 30 days for review.