1.0	All tops of parapet walls on new construction projects shall slope back toward the roof area to avoid excess water stains on the exterior of the building surfaces.