Electrical inspection will be performed throughout of the course of construction by a Certified Electrical Inspector from the Department of Housing, Building and Construction, State Fire Marshal's office.

Upon project completion, and when wiring, equipment and fixtures have been installed, inspected and found to be in compliance with the National Electrical Code, the inspector shall issue a Certificate of Compliance to the owner.

The contractor is expected to have (all electrical systems) installed in code compliance and to provide same at no additional cost to the owner.

It is the contractors responsibility to pay for and schedule all inspections with the State Fire Marshal Electrical Inspector at (1) rough-in, (2) 50% of project, and (3) final completion, as a minimum.