All outside lighting should be on dedicated circuits with contactor control.  Contactors to be connected to DGP control if listed in the input/output summary.  Contactors shall be momentary latch 120 volt coil equipped with hand/off/auto switch Square D model or equal.

If FMS light control is not provided, control shall be as specified in UK Lighting Specifications 265113S01.