Sinks & Wall Protection – Non-laboratory areas

All sinks shall have a solid surface material behind the sink and behind any equipment (such as soap dispensers or paper towel dispensers) that hang near the sink and may become wet.  In a bathroom, ceramic tile is preferred for these wall surfaces in new construction or renovation.  In areas other than bathrooms, where a sink is located along a wall, the wall shall be protected with a solid surface material equal to the type supplied by Wilsonart Gibraltar.  The counters are to be totally homogeneous surface without any fillers or laminated to other sub-materials.

Window Sills

All window sills shall be a totally homogeneous surface without any fillers or laminated to other sub-materials.