Provide automatic pH and Chlorine control and FMS interface in accordance with UK Standards.

Provide a pool water level with a minimum of two set points for high and low water level alarm.  This may be done digitally or by analog sensing of water level and setting alarm points in software.