I.   VAV Boxes:

All VAV boxes and Reheat Coil Assemblies control valves must have adequate access space for maintenance, including removal of coils, damper arms, reheat valves, etc. Space must be maintained to top of acoustical ceiling grid.  A “coil pull” space of coil length plus 6” is required.